## Slide 1
Discharge connection with built-in check valve (3/8”). Comes with tubing, inlet and discharge adapter.
1” inlet for condensate (bypass neutralizer)
Provisions for the pump to be wall mounted
1” inlets for harsh condensate (goes through neutralizer agent)
Compartment for neutralizer agent (up to 500,000 BTUs/hour
Same motor (specs) as Sanicondens Best